Medicine & Science in Sports & Exercise

Issue: Volume 31(4), April 1999, pp 572-577

Copyright: (C) 1999 Lippincott Williams & Wilkins, Inc.

Publication Type: [Applied Sciences: Biodynamics]

ISSN: 0195-9131

Accession: 00005768-199904000-00013

Keywords: JUMP-AND-REACH TEST, PEAK POWER, LEWIS FORMULA, PRESS STATISTIC

[Applied Sciences: Biodynamics]

Cross-validation of three jump power equations

SAYERS, STEPHEN P.; HARACKIEWICZ, DAVID V.; HARMAN, EVERETT A.; FRYKMAN, PETER

N.; ROSENSTEIN, MICHAEL T.

Author Information

Department of Physical Education, Health Fitness Studies, Central Connecticut

State University, New Britain, CT 06050; Military Performance Division, U. S.

Army Research Institute of Environmental Medicine, Natick, MA 01760-5007; and

Computer Science Department, University of Massachusetts, Amherst, MA 01003-4610

Submitted for publication July 1997.

Accepted for publication March 1998.

Address for correspondence: Stephen P. Sayers, Department of Exercise Science,

room 110, Totman Building, University of Massachusetts, Amherst, MA 01003.

E-mail: ssayers@excsci.umass.edu.

----------------------------------------------

Outline

ABSTRACT

METHODS

RESULTS

DISCUSSION

REFERENCES

ABSTRACT

Cross-validation of three jump power equations. Med. Sci. Sports Exerc., Vol.

31, No. 4, pp. 572-577, 1999. The vertical jump-and-reach score is used as a

component in the estimation of peak mechanical power in two equations put forth

by Lewis and Harman et al.

Purpose: The purpose of the present study was to: 1) cross-validate the two

equations using the vertical jump-and-reach test, 2) develop a more accurate

equation from a large heterogeneous population, 3) analyze gender differences

and jump protocols, and 4) assess Predicted Residual Sum of Squares (PRESS) as a

cross-validation procedure.

One hundred eight college-age male and female athletes and nonathletes were

tested on a force platform. They performed three maximal effort vertical jumps

each of the squat jump (SJ) and countermovement jump (CMJ) while simultaneously

performing the vertical jump-and-reach test. Regression analysis was used to

predict peak power from body mass and vertical jump height.

SJ data yielded a better power prediction equation than did CMJ data because of

the greater variability in CMJ technique. The following equation was derived

from SJ data: Peak Power (W) = 60.7 x (jump height [cm]) + 45.3 x (body mass

[kg]) - 2055. This equation revealed greater accuracy than either the Lewis or

previous Harman et al. equations and underestimated peak power by less than 1%,

with a SEE of 355.0 W using SJ protocol. The use of one equation for both males

and females resulted in only a slight (5% of power output) difference between

genders. Using CMJ data in the SJ-derived equation resulted in only a 2.7%

overestimation of peak power. Cross-validation of regression equations using

PRESS reveals accurate and reliable R2 and SEE values.

Conclusions: The SJ equation is a slightly more accurate equation than that

derived from CMJ data. This equation should be used in the determination of peak

power in place of the formulas developed by both Harman et al. and Lewis.

Separate equations for males and females are unnecessary.

----------------------------------------------

Power output is an essential component of success in many sports. A useful means

of determining basic athletic ability, especially in sports where jumping is

critical to success, is the vertical jump test. The vertical jump has become the

most widely used standard by which "explosive" athletic performance is assessed.

The ability to assess jumping power can also aid in the evaluation of an

athlete's progress or in the determination of a training program's effectiveness.

However, the use of a force platform to determine power is prohibitively

expensive for many who would wish to estimate vertical jumping power. That is

why a convenient and inexpensive, but reasonably accurate, method of assessing

human power output is essential.

In 1974 the Lewis formula was devised to estimate an athlete's power from body

weight and vertical jump distance (4). This formula has been widely used in

exercise physiology and tests and measurements texts and in research (3,4,8,10).

However, in 1991, Harman et al. (6) challenged the theoretical concept behind

the Lewis formula and determined that the power calculated from the formula was

that of gravity exerted on the jumper's body as it falls back to the ground from

the high point of the jump, not the power exerted during the takeoff phase of

the jump. Harman et al. (6) tested 17 subjects on a force platform to determine

their peak and average power during the takeoff phase of the jump, then tested

them to find their vertical jump-and-reach score. The researchers used the squat

jump (SJ), in which subjects assumed a bent knee preparatory position, paused,

then jumped vertically as high as possible. Regression equations were derived to

estimate peak and average power from body weight and vertical jump distance.

However, because of the small population (N = 17) and its homogeneity, the

validity of the equation has yet to be determined.

The present study was an attempt to cross-validate the two equations from the

literature by assessing them on a subject pool of 108 college-age male and

female athletes and nonathletes, a more heterogeneous population than in the

previous studies, and to develop an improved equation. The study examined two

jump protocols, the aforementioned SJ and the countermovement jump (CMJ). In the

CMJ, subjects dropped into a crouch from the standing position and, without

pausing, jumped vertically as high as possible. This was done to assess the

effects of countermovement on estimates of power. In contrast to the SJ, the CMJ

allows greater joint moments to be achieved at push-off and during initial joint

extension, allowing more work to be produced (1). This greater work contributes

to greater jump heights. The CMJ may also use the stretch reflex to increase

muscle stimulation and to contribute to a greater muscular force necessary to

achieve greater vertical jump height (1). It has been reported that vertical

jump height can be 10-23% higher using the CMJ than without it (11). Thus, a

secondary purpose of the experiment was to determine whether a strict jumping

protocol must be adhered to in an assessment of jumping power based on vertical

jump distance. Because there might be circumstances under which CMJ data may

inadvertently be used to estimate jump power by employing an equation developed

with SJ data, or vice versa, it is important to know the resulting degree of

error in power output estimation. The study also attempts to determine whether

the same equations are appropriate for both males and females and whether

separate equations are needed. Although both peak and average power equations

are determined in the present study, the emphasis in this article is on the peak

power equation and its accuracy. This is because of the superior correlations

seen between peak power and the variables of body weight and jump height (2,5).

METHODS

A force platform was used to record the vertical ground reaction forces exerted

by 108 college-age male and female athletes and physical education students at

Central Connecticut State University during three maximal effort vertical SJ and

three maximal effort CMJ. Informed consent was obtained in accordance with

Central Connecticut State University's guidelines for human subject research.

Table 1 describes the test subjects in the study. Each participant placed a

Velcro (Velcro USA, Inc., Manchester, NH) ring around the middle finger of his

or her right hand, at the very tip. Then the subject stood with the right

shoulder adjacent to the wall and, while keeping the feet flat on the floor,

reached up as high as possible, touching the Velcro ring to the vertical jump

measurement device mounted on the wall. This established the subject's standing

reach height. The subject was then asked to perform a maximal height SJ,

starting with the knees at roughly a 90[degrees] angle and the arms back, to be

subsequently thrust forward and upward to contribute to the height of the jump.

Three trials of this jump were performed. The Velcro ring marked the height of

the vertical jump and standing reach height was subtracted to establish actual

vertical distance jumped. Then the subject was asked to perform a countermovement

jump in which the subject began in the standing position, dropped into the squat

position, and immediately jumped as high as possible. Again, three trials were

performed. The best jump from each of the protocols was used for analysis. There

was time between trials to take the measurements, write down the information in

the subjects' individual files, and run the program that analyzed the force

versus time data to determine power output. This provided enough intertrial rest

to allow all jumps to be performed without fatigue. Following the jumping

trials, the body weight and four to five skinfold sites of each subject were

measured. Body weight was taken on an upright balance scale, while skinfolds

were assessed using Lange skinfold calipers.

The force platform was connected to an amplifier which passed signals proportional

to the force of the feet on the plate to a computer and display device. The

force platform was a model LG611 0.6 by 1.2 m force platform connected to a

model SGA6-3 amplifier system, both from AMTI (Newton, MA). The continuous

voltage signal was digitized at 500 Hz by an APAS analog data collection system

(Ariel Dynamics, Vista, CA). The ground reaction force recorded from each jump

trial was stored in a file on magnetic tape for later analysis and a custom

program processed the files to calculate power output (6).

Cross-validation was performed by entering the variables of jump height and body

weight of the 108 subjects into the two equations of Lewis (4) and Harman et

al.(6) (Table 2) and comparing the estimates of peak and average power from the

respective equations to actual peak and average power determined from the force

platform. Next, to evaluate the accuracy of the cross-validated equations, a new

set of regression equations was developed from the subjects in the present study

and cross-validated using a 2/3 split of the data, with 72 subjects randomly

assigned to the fitting sample and 36 to the validation sample (equations 1a and

1b for SJ and CMJ, respectively, in Table 3). These latter peak power equations

were then compared with the equations of Lewis and Harman et al. (6). The

success of these new equations prompted the derivation of a final set of

equations from all 108 subjects in the present study (equations 2a and 2b for SJ

and CMJ, respectively, in Table 3). The latter equations were cross-validated

using Predicted Residual Sum of Squares (PRESS).

RESULTS

Correlations between actual peak power scores from the force platform and peak

power scores from the equations of Lewis (4) and of Harman et al. (6) showed

strong associations (Table 4). Correlations were greatest between actual power

scores and estimates from the formulas of Lewis and of Harman et al. when the SJ

protocol was used and SJ data was put into the equations. SJ data were also

preferable when both males (N = 59) and females (N = 49) were assessed

individually; the correlations were smaller, but followed the same pattern.

Peak power was underestimated by 6.9% when using CMJ data in the equation of

Harman et al. (6) and underestimated by 9.9% when using SJ data (Table 4).

Underestimations of peak power were similar for the individual genders, although

slightly greater for males, and slightly smaller for females.

The Lewis formula revealed that peak power was underestimated by 72.8% when

using CMJ data in the equation, and by 73.2% when using SJ. Results were similar

for the individual genders. Although not shown, average power was underestimated

by 42.6% when using CMJ data in the equation and by 42.5% when using SJ data. In

the description of the Lewis formula, whether the power score obtained was peak

or mean power was never specified.

The split data formula from the validation sample of subjects in the present

study showed very good accuracy (see Table 4). Peak power was underestimated by

0.7% when using SJ equation 1a and overestimated by 2.7% when using CMJ equation

1b. Results for males showed even smaller differences between estimated and

actual peak power scores, while females showed a 7.2% overestimation when using

the CMJ equation, but only a 1.8% underestimation when using the SJ equation.

In the present study, SEE was the primary determinant of the accuracy of a

regression equation. When assessing the SEE of peak power equations using the

CMJ data versus the SJ data in the equation, it can be seen in Table 4 that the

SEE was smaller using SJ data than by using CMJ data in the formulas of Lewis

and of Harman et al. (6), as well as in equation 1a. This resulted from smaller

standard deviations for SJ data and stronger correlations between predicted peak

power and actual peak power. The same was true for the smaller populations of

males and females.

The new regression equations for peak power derived from the entire population

of 108 subjects in the present study (Equations 2a and 2b) were cross-validated

using the PRESS statistic (7). PRESS allows for use of all the available data

and avoids equation instability because of the reduced sample size characteristic

of data splitting. The PRESS method also provides unbiased estimates of the

prediction equation's future performance, similar to data splitting. The PRESS

statistic replaces the ordinary ANOVA residual sum of squares with PRESS

residuals resulting in a modified R2 and SEE. It can be seen that differences

did exist between the actual regression equations derived from data splitting

and regression equations derived from the total population of 108 (Table 3).

Because of the success and accuracy of the equations derived from data

splitting, the accuracy of an equation based on the whole population of 108

(equations 2a and 2b) should have been better than one derived on only 72

subjects (equations 1). Table 5 reveals that when compared with the R2 and SEE

of the original non-cross-validated regression equations based on 108 subjects

using the SJ protocol, the R2 and SEE from the cross-validated sample using

PRESS revealed an accurate and usable equation for both peak and mean power. The

R2 of 0.87 and the SEE of 382.4 W for the SJ peak power formula cross-validated

by PRESS were similar to the R2 of 0.88 and the SEE of 372.9 W of the original

non-cross-validated SJ peak power equation. It can be seen that the CMJ protocol

produced a poorer R2 and SEE than did the SJ protocol when using the non-cross-validated

equation and both the data-split and PRESS validated equations. Thus, in this

study the CMJ protocol provided a less accurate estimate of peak power than did

the SJ protocol.

To assess the robustness of the new equations derived from the entire 108

subjects (equations 2a and 2b), two things were done. First, peak power was

estimated by substituting CMJ data into the SJ equation and vice versa, to

reveal the magnitude of error resulting from inadvertently using the wrong

equation. Second, male and female scores were inserted separately into the

equations to support or refute the notion that separate equations for the

genders are necessary.

The results from Table 6 show that when CMJ data were inserted into equations

derived from SJ data (equation 2a) and compared with actual CMJ power, peak

power was overestimated in the total population by 2.7%. Similarly, when SJ data

were inserted into equations derived from CMJ data (equation 2b) and compared

with actual SJ power, peak power was underestimated in the total population by

1.9%.

Another important aspect of the present research was to see whether a single

equation could provide good estimates of both male and female jumping power

rather than using separate equations for each. Table 7 shows that for males the

equations derived from all 108 male and female subjects underestimated peak

power by 1.8% using equations 2a and 2b. For females, peak power was overestimated

by 2% and 3.2% for equations 2a and 2b, respectively (Table 7). Thus, the

equations had the effect of slightly underestimating the difference between

males and females in peak power. The SEE showed no aberrations, remaining higher

for the CMJ protocol than for the SJ protocol.

DISCUSSION

The present study has resulted in the development of a new equation for

estimation of peak power from vertical squat jump distance and body mass. The

new equation is considerably more accurate than the traditional one of Lewis and

can be considered more valid than the equation of Harman et al. (6) since it is

based on the data of a larger and more diverse population.

Several things can be inferred from the results of the study. First, the SJ

protocol is preferable to the CMJ protocol for testing peak jumping power. It is

essential to have a standard type of jump, without too much variation. When

testing different athletes on the CMJ it becomes apparent that there are a

variety of CMJ techniques, some with a large countermovement, others with a

small countermovement. Some perform the movement quickly, others slowly. Some

pause slightly at the bottom of the CMJ, which can turn the CMJ into more of a

SJ. Since both the magnitude and rapidity of the countermovement contribute to

vertical jump performance, variation in these factors will contribute to error

in peak power prediction. Theoretically, if all jumps were able to be initiated

at the 90[degrees] knee angle, the only timing differences would reflect the

subjects' height and ability to provide thrust. With the CMJ, timing varies

according to how large the countermovement is, how quickly it is performed, or

whether there is a pause at the bottom. The SJ protocol thus minimizes

variability. A protocol that has subjects begin with the knee angle at

approximately 90[degrees], with arms back, ready to be swung forward and upward

during the thrust phase of the jump seems to be an acceptable way to guarantee

that form is controlled within and across jumping groups. An argument can be

made for specificity, i.e., that different athletes should be tested using the

type of jump predominant in their sport. However, to provide a fair comparison

of the power produced by jumpers using a countermovement, all the jumpers would

have to be trained to do the CMJ very similarly. Specificity is important to

training, but consistency is more important for testing.

The SJ protocol is more acceptable than the CMJ protocol with regard to accuracy

of prediction. Using the SJ in the power formula of Lewis (4), Harman et al.

(6), and the present study produced a smaller SEE than when the CMJ protocol was

used. This resulted from lower standard deviations with the SJ than the CMJ,

probably because of the more uniform nature of the SJ discussed earlier. The

smaller SEE also reflected a higher correlation between peak power derived from

regression equations using the SJ protocol and actual peak power scores (Table

4). These trends held true for both male and female populations. Although

correlations between equation-derived peak power scores and actual peak power

scores were lower for females than males, the SEE was lower for the SJ protocol

than the CMJ protocol. Although the Lewis formula exhibited strong correlations

between predicted and actual power and a small SEE, it greatly underestimated

both peak and average power. This formula, therefore, cannot be considered an

accurate or valid estimate of peak or average power. Explaining this anomaly,

Holiday et al. (7) stated "... statistical correlatedness does not necessarily

imply equality in regression" (p. 614). The good correlations between the Lewis

formula and force platform observed peak power resulted because the actual and

predicted values differ by some fairly constant amount, which was quite large.

This view is reinforced by Kline et al. (9) who support "... the preferred use

of SEE over correlation coefficients when comparing equations which have been

derived on different samples" (p. 257). Yet, the SEE may be low when correlations

are high and standard deviations are unrealistically low, as occured in the

Lewis formula. Since SEE = Sy [square root]1 - r2, small standard deviations

and/or high correlation coefficients can produce a small SEE despite large but

consistent errors in estimation. This is what seemed to occur with the low SEE

and good correlations observed with the inaccurate Lewis formula. Figure 1

reveals the extent of the inaccuracy of the Lewis formula in comparison with the

formulas of Harman et al. (6) and of present study's equation 2a. Although

correlations between Lewis and actual power were quite good, the deviation of

the regression line from the line of identity shows that large differences

existed between predicted and actual scores.

This leads to a second conclusion: the Lewis formula is not an accurate

assessment of either peak or average power and its use should be discontinued

based on the findings from the present investigation. Its underestimation of

peak power by over 70% and average power by over 40% reveals its inappropriateness

as a prediction equation. This supports a previous finding from Harman et al

(6).

Gender influence. Gender does not seem to interfere with the accuracy of

estimates of peak and mean power scores. Interestingly, the formula of Harman et

al. (6) revealed peak power scores that were more accurate using female subjects

than male subjects, even though the original equation was developed on males.

For the total population or for a male or a female population, the formula of

Harman et al. (6) is acceptable to use on a more disparate, heterogeneous group

despite its development on a small homogeneous population. This suggests that

both the male and female populations can be included when predicting peak power

from the Harman et al. formula.

The power estimation equations derived from the entire population of 108 males

and females produced only minor errors when applied separately to the individual

male and female populations. The same was true for the formula of Harman et al.

(6) developed from 17 male military personnel but tested on females in this

study. In fact, the accuracy was greater in the female population than in the

male population. Both male and female populations can be confident using these

equations despite the different populations on which they were tested.

Preference of jump protocol. Although in the present study different formulas

resulted from SJ and CMJ data, the lower accuracy of the CMJ equation makes it a

less desirable equation. The study did reveal a larger peak power score for the

CMJ (3964.64 W) than for the SJ (3861.18 W) (Table 4), yet the difference

between them was only 2.6%. In addition, vertical jump height using the CMJ was

only 7% greater than when using the SJ, smaller than has been seen in other

studies (11). Moreover, when comparing differences between regression derived

power scores and actual peak power scores, one should note that differences do

not discriminate in favor of either jump protocol. The equation from the Harman

et al. (6) study revealed greater accuracy when using the CMJ data for the total

male and female population when cross-validated to the present study's

population, despite having originally been developed using the SJ protocol. It

would seem that if each of the different jump protocols were that influential on

the outcome of the jump, then these aforementioned anomalies would probably not

be present. However, there was evidence of overestimations of power using CMJ

data in equations derived from the SJ protocol and slight underestimations of

power using SJ data in equations derived from the CMJ protocol in the present

study. It is interesting how well the equations estimate actual peak power

scores even when different protocols are used. The power scores from the present

study equations were more accurate than the power scores using interchanged CMJ

and SJ data from the formula of Harman et al. (6). Using the SJ and CMJ

protocols interchangeably in the formulas of Harman et al. or present study

allowed a somewhat acceptable range of between 91% and 103% of the actual peak

power score for the total population. A standard protocol, however, would

alleviate the inconsistencies that are seen in the CMJ protocol. In addition,

the excellent R2 and SEE seen in the newly developed regression equation from

the present study for the SJ protocol, as well as the good correlations and SEE

found in the cross-validated equations put forth by Harman et al. for the SJ

protocol, support preferential use of the SJ protocol. (Table 8)

It is also important to look at the trends of the average R2 and SEE seen in

Table 5. According to Holiday et al. (7), either data splitting or PRESS can be

more or less optimistic in any given sample, yet the averages of R2 and SEE are

expected to follow the trend of adjusting downward, exhibiting less optimistic

values than for the equation from the entire population. Both data splitting and

PRESS exhibited this trend for SEE in both equations 2a and 2b, not for R2. R2

values were more optimistic for PRESS in equation 2a and for data splitting and

PRESS in equation 2b. The PRESS statistic followed its expected trends, but more

importantly, revealed a successful cross-validation technique that supports the

implementation of the utilization of new peak and mean power equations using the

SJ protocol.

It can be concluded that: 1) the Lewis formula (4) is not accurate for

determining either mean or peak power. Thus, it can be stated with confidence

that the Lewis formula should be discontinued for estimating the power of an

athlete. 2) Although the accuracy of the formula of Harman et al. (6) is

somewhat acceptable for peak power, equation 2a from the present study exhibits

a more accurate equation that has been cross-validated using PRESS, revealing a

good R2 and SEE. 3) The SJ protocol is recommended for predicting jump power,

using the following equation: Peak Power (W) = (60.7) x (jump height [cm]) +

45.3 x (body mass [kg]) - 2055. However, inadvertent use of the CMJ protocol in

the equation derived from SJ data will not greatly affect the results. 4) Both

males and females are able to use the same equations with good accuracy. The

following regression equation for peak power should be implemented for an

accurate assessment of an athlete's power: Peak Power (W) = (60.7) x (jump

height [cm]) + 45.3 x (body mass [kg]) - 2055.

REFERENCES

1. Bobbert, M. F., K. G. M. Gerritsen, M. C. A. Litjens, and A. J. Van Soest.

Why is countermovement jump height greater than squat jump height? Med. Sci.

Sports Exerc. 28:1402-1412, 1996. Ovid Full Text Request Permissions Bibliographic

Links Library Holdings

2. Dowling, J. J. and L. Vamos. Identification of kinetic and temporal factors

related to vertical jump performance. J. Appl. Biomech. 9:95-110, 1993.

3. Fox, E. L. and D. K. Mathews. The Physiological Basis of Physical Education

and Athletics, 3rd Ed. Philadelphia: Saunders College, 1981, pp. 619-621.

4. Fox, E. L. and D. K. Mathews. The Interval Training: Conditioning for Sports

and General Fitness. Philadelphia: W.B. Saunders, 1974, pp. 257-258.

5. Harman, E. A., M. T. Rosenstein, P. N. Frykman, and R. M. Rosenstein. The

effects of arms and countermovement on vertical jumping. Med. Sci. Sports Exerc.

22:825-833, 1990. Request Permissions Bibliographic Links Library Holdings

6. Harman, E. A., M. T. Rosenstein, P. N. Frykman, R. M. Rosenstein, and W. J.

Kraemer. Estimation of human power output from vertical jump. J. Appl. Sports

Sci. Res. 5:116-120, 1991.

7. Holiday, D. B., J. E. Ballard, and B. C. McKeown. PRESS-related statistics:

regression tools for cross-validation and case diagnostics. Med. Sci. Sports

Exerc. 27:612-622, 1995. Request Permissions Bibliographic Links Library

Holdings

8. Kirkendall, D. R., J. J. Gruber, and R. E. Johnson. Measurement and

Evaluation for Physical Education, 2nd Ed. Champagne: Human Kinetics, 1987, pp.

118-120.

9. Kline, G. M., J. P. Porcari, and R. Hintermeister. Estimation of [latin

capital V with dot above]O2max from a one-mile track walk, gender, age, and body

weight. Med. Sci. Sports Exerc. 19:253-259, 1987. Request Permissions Bibliographic

Links Library Holdings

10. Mathews, D. K. and E. L. Fox. The Physiological Basis of Physical Education

and Athletics, 2nd Ed. Philadelphia: W.B. Saunders, 1976, pp. 584-586.

11. Vandewalle, H., G. Peres, and H. Monod. Standard anaerobic exercise tests.

Sports Med. 4:268-289, 1987. Bibliographic Links Library Holdings

Key Words: JUMP-AND-REACH TEST; PEAK POWER; LEWIS FORMULA; PRESS STATISTIC